## Slide 1: Legislative Wins (and next steps)
BIG WIN: Local gov’s must update energy codes (HB22-1362)
  2021 IECC + EV-ready, PV-ready, electric-ready (July 1, 2023 to July 1, 2026)
  Low energy and carbon code (after July 1, 2026)
  Only local gov’s with building codes
  Only when updating other codes
  Local gov’s can adopt equivalent or more stringent
  Energy Code Advisory Board will select model code language
EEBC ACTION ITEM: Get good candidates to apply for Energy Code Board, when applications open
  Especially need good mechanical, electrical, plumbing contractors/reps

## Slide 2: Legislative Wins (and next steps)
MEDIUM WIN: Heat Pump Incentives (SB22-051)
  Heat pumps, heat pump water heaters, electrical panel upgrade (if needed for heat pump), all associated equip.
  10% tax credit on equipment cost (not labor, sorry, we tried)
  Only available for 2023-2024
  Purchaser may assign to contractor (Tip: good for non-profits and local gov’s!)
EEBC ACTION ITEM: Spread the word, use the tax credit, next year advocate to expand/lengthen

## Slide 3: Benchmarking and Building Performance Standards Update
Commercial and multifamily buildings >50,000 sq ft
Benchmarking due Dec 1, 2022 (using 2021 data) then every July 1 thereafter
Task Force recommended building performance standards:
  Target energy efficiency level (site EUI) by building type, similar to Denver’s approach
  OR full credit for electrification of 80% of heating & hot water loads
  Partial credit for partial electrification
  Partial credit for onsite/off-site renewables (at level of avoided grid emissions)
  Demand flexibility TBD
  Timeline or target adjustments if needed
  Interim deadline 2026, final deadline 2030

## Slide 4: Benchmarking and Building Performance Standards Update
URGENT EEBC ACTION ITEM: Take the 10-min survey to show strong support, distribute the survey to a few colleagues
  www.surveymonkey.com/r/QBCBNSW
  Survey has link to PPT with more info
  Open through July 6th
  Official questions/comments: crystal.egelkamp@state.co.us
  Unofficial questions/comments: Christine Brinker (Task Force member and EEBC member), cbrinker@swenergy.org